MSLDC, Kalwa

Note on

Maharashtra Power System Overview, under frequency operation, Load shedding (Planned and Distress) for the month of August - 2019

Maharashtra system Overview:-

The overview of Maharashtra system operation for the month of August - 2019 with respect to availability and shortfall is elaborated as under;

- The power supply position for STATE in August - 2019 are given below: -

| Sr No. | Particulars | Recorded Demand/Requirement | Date | Time |
| --- | --- | --- | --- | --- |
| 1 | Max. Demand | 20249 MW ( with Load shedding 0 MW) | 29.08.2019 | 10:00 Hrs |
| 2 | Min. Demand | 12361 MW | 05.08.2019 | 04:00 Hrs |
| 3 | Max. Demand Catered | 20249 MW | 29.08.2019 | 10:00 Hrs |
| 4 | Energy Catered | 12222 MUs |  |  |
| 5 | Max. Energy Catered | 449 MUs | 29.08.2019 |  |
| 6 | Avg. Energy Catered | 394 MUs |  |  |

- The power supply position for MSEDCL in August - 2019 are given below :-

| Sr No. | Particulars | Recorded Demand/Requirement | Date | Time |
| --- | --- | --- | --- | --- |
| 1 | Max. Demand | 17238 MW ( with Load shedding 0 MW ) | 29.08.2019 | 09:00 Hrs |
| 2 | Min. Demand | 10737 MW | 05.08.2019 | 04:00 Hrs |
| 3 | Max. Demand Catered | 17238 MW | 29.08.2019 | 09:00 Hrs |
| 4 | Energy Catered | 10391 MUs |  |  |
| 5 | Max. Energy Catered | 384 MUs | 29.08.2019 |  |
| 6 | Avg. Energy Catered | 335 MUs |  |  |

- The power supply position for Mumbai system in August - 2019 are given below:-

| Sr No. | Particulars | Recorded Demand/Requirement | Date | Time |
| --- | --- | --- | --- | --- |
| 1 | Max. Demand | 3284 MW | 29.08.2019 | 12:00 Hrs |
| 2 | Min. Demand | 1624 MW | 05.08.2019 | 04:00 Hrs |
| 3 | Energy Catered | 1831 MUs |  |  |
| 4 | Max. Energy Catered | 65 MUs | 29.08.2019 |  |
| 5 | Avg. Energy Catered | 59 MUs |  |  |

Load shedding in MSEDCL area :

- Revised Feeder wise planned load shedding protocol in MSEDCL, based on MERC Order in Case No.41 of 2012 dt.26.11.2012, is implemented w.e.f. 16/01/2013 by MSEDCL as per circular No.46 Dated 14/01/2013.The hourly load relief quantum is submitted at the end of the day, daily, by LM cell of MSEDCL, Kalwa.

- Max. load shedding was recorded as 0 MW  and Min. load shedding was recorded as 0 MW. Average load shedding quantum for the month was 0 MW.

- Planned load shedding for load relief is carried out in MSEDCL area to mitigate the availability in real time if required. AG-LM load management scheme is revised as per the new load shedding circular w.e.f. 01.01.2019 vide MSEDCL letter no. CE(PP)/LM/30923 dt, 29.12.2018, 3 phase supply to AG loads will be 8/10 Hrs. w.e.f. 01.01.2019.

Other Highlights of Maharashtra System in August - 2019

- The RGPPL Power is scheduled to Railways only.

- 3.627 TMC of Koyna water is utilized for August – 2019.

- Wind Generation for the month was 1274 MUs. Average wind generation was 1712 MW/hour.

- The average grid frequency for the month was 50Hz. The Instantaneous Maximum frequency was 50.25 Hz and Minimum frequency was 49.81 Hz.

- There was no instance of under frequency operation during the month.

- MSPGCL Thermal actual generation was as high as 4838 MW (hourly max) on 30/08/2019 at 14:00 hrs.

- MSPGCL Thermal actual generation was as low as 2329 MW (hourly min) on 03/08/2019 at 12:00 hrs.

- Max. Voltage at 765kV Substation was recorded at 765KV Ektuni substation i.e 804 kV and Min voltage was recorded at 765kV Koradi III substation i.e 760 kV.

- Max. Voltage at MSETCL 400 kV Substation was recorded at 400KV Kalwa i.e 441 kV and Min voltage was recorded at 400KV Jejuri i.e 384 kV.

- There was no planned load shedding in Mumbai area (BEST, AEML-D and TPC-D) during the month.