MSLDC, Kalwa

Note on

System Overview, Under frequency operation, feeders opening from EHV s/s for additional load relief in Maharashtra system for the month of December -2012

The overview of Maharashtra system operation for the month December - 2012 with respect to availability and shortfall is elaborated as under.

The details of power supply position for MSEDCL are given below.

- Average monthly availability for MSEDCL

a)   MSPGCL thermal	-	 4907 MW

- MSPGCL gas  	-            358 MW

- Central sector(ISGS) -	 4715 MW

(Incl. RGPPL)

Total non- peak availability     -   	 9980 MW

The availability from dedicated sources including all hydro gen, in evening peak hours was about 10800 MW.

.

- The MSEDCL maximum evening peak demand recorded as 13807 MW (inclusive of planned load relief was 573 MW) on 08/12/2012.

- The MSEDCL minimum evening peak demand recorded as 12374 MW (inclusive of planned load relief was 408 MW) on 28/12/2012.

- The MSEDCL Morning maximum and minimum peak recorded as 14885 MW (incl. PLR of 686 MW) on 06/12/2012 and 13878 MW (PLR –591) on 28/12/2012 respectively.

Feeder wise planned load shedding program is implemented wef. 22/08/2012 by MSEDCL as per letter dated 14/08/2012.The Hourly load relief quantum is submitted at the end of the day, daily, by LM cell of MSEDCL, Kalwa

- Planned load shedding for load relief is carried out in MSEDCL area to mitigate the availability in real time. In addition, AG-LM load management scheme is in force for defined hours, as per the load shedding circular.

- There was no distress load shedding due to short fall of supply during the month.

- MSPGCL Thermal availability was as low as 4292 MW (average/day) on 23/12/2012.

- 7.270 TMC of Koyna water was utilized and average wind generation was 179 MW/hour.

- The average grid frequency for the month was 49.99 Hz.

- There was no instance of under frequency operation during the month.

- There was no planned load shedding in Mumbai area (i.e. BEST, R-Infra-D, and TPC-D) during the month.